Silicone Sheeting Selector Guide - Polymer Systems Technology Limited

# UK & Ireland Distributor

© 2011 - Polymer Systems Technology Limited ™
Unit 2.   Network 4.    Cressex  Business  Park,
Lincoln Road, High Wycombe, Bucks. HP12 3RF
Phone +44 (0) 1494 446610 
Fax:     +44 (0) 1494 528611 
Web: http://www.siliconepolymers.co.uk 
Email:     sales@silicone-polymers.co.uk

Silicone Sheeting Selector Guide 
Polymer Systems Technology Limited

Polymer Systems Technology Limited now offers calendared sheeting products for Medical Applications.  These sheeting products are broken into categories as listed below.  Custom sheeting may be available upon special request.

Nomenclature:  MEDAB-CD E F-GH

AB = 90 Base, non-reinforced, unrestricted (for existing customers only)

AB = 91 Base, reinforced, unrestricted (for existing customers only)

AB = 92 Base, non-reinforced, unrestricted

AB = 93 Base, reinforced, unrestricted

AB = 82 Base, non-reinforced, restricted

AB = 83 Base, reinforced, restricted

# Standard Sheeting Available by Category

Sheeting thickness are typically 9”x12” x Thickness. Most sheeting is made to order.

| Product Name | Thickness | Durometer | Vulcanized | Reinforced | Price Category |
| --- | --- | --- | --- | --- | --- |
| MED82-5010-10 | 0.010” (0.25mm) | A-50 | Y | N | A |
| MED82-5010-15 | 0.015” (0.38mm) | A-50 | Y | N | A |
| MED82-5010-20 | 0.020” (0.50mm) | A-50 | Y | N | A |
| MED82-5010-25 | 0.025” (0.63mm) | A-50 | Y | N | A |
| MED82-5010-30 | 0.030” (0.76mm) | A-50 | Y | N | A |
| MED82-5010-40 | 0.040” (1.01mm) | A-50 | Y | N | A |
| MED82-5010-50 | 0.050” (1.27mm) | A-50 | Y | N | A |
| MED82-5010-60 | 0.060” (1.52mm) | A-50 | Y | N | A |
| MED82-5010-70 | 0.070” (1.78mm) | A-50 | Y | N | A |
| MED82-5010-80 | 0.080” (2.03mm) | A-50 | Y | N | A |
| MED82-5010-XX | Custom | A-50 | Y | N | A |
| MED82-5011-XX | Custom | A-50 | Y | N | B |
| MED83-5010-XX | Custom | A-50 | Y | Y | B |
| MED83-5011-XX | Custom | A-50 | Y | Y | C |
| MED92-5010-10 | 0.010” (0.25mm) | A-50 | Y | N | D |
| MED92-5010-15 | 0.015” (0.38mm) | A-50 | Y | N | D |
| MED92-5010-20 | 0.020” (0.50mm) | A-50 | Y | N | D |
| MED92-5010-25 | 0.025” (0.63mm) | A-50 | Y | N | D |
| MED92-5010-30 | 0.030” (0.76mm) | A-50 | Y | N | D |
| MED92-5010-40 | 0.040” (1.01mm) | A-50 | Y | N | D |
| MED92-5010-50 | 0.050” (1.27mm) | A-50 | Y | N | D |
| MED92-5010-60 | 0.060” (1.52mm) | A-50 | Y | N | D |
| MED92-5010-70 | 0.070” (1.78mm) | A-50 | Y | N | D |
| MED92-5010-80 | 0.080” (2.03mm) | A-50 | Y | N | D |
| MED92-5010-XX | Custom | A-50 | Y | N | D |
| MED93-5010-XX | Custom | A-50 | Y | Y | E |

# Non-Standard Sheeting Available by Category

| Product Name | Thickness | Durometer | Vulcanized | Reinforced | Price Category |
| --- | --- | --- | --- | --- | --- |
| MED90-5000-10 | 0.010” (0.25mm) | A-50 | N | N | D |
| MED90-5000-20 | 0.020” (0.50mm) | A-50 | N | N | D |
| MED90-5000-30 | 0.030” (0.76mm) | A-50 | N | N | D |
| MED90-5000-40 | 0.040” (1.01mm) | A-50 | N | N | D |
| MED90-5000-60 | 0.060” (1.52mm) | A-50 | N | N | D |
| MED90-5010-10 | 0.010” (0.25mm) | A-50 | Y | N | D |
| MED90-5010-12 | 0.012” (0.30mm) | A-50 | Y | N | D |
| MED90-5010-60 | 0.060” (1.52mm) | A-50 | Y | N | D |
| MED91-5000-10 | 0.010” (0.25mm) | A-50 | N | Y | E |
| MED91-5000-20 | 0.020” (0.50mm) | A-50 | N | Y | E |
| MED91-5000-30 | 0.030” (0.76mm) | A-50 | N | Y | E |
| MED91-5000-40 | 0.040” (1.01mm) | A-50 | N | Y | E |
| MED91-5000-60 | 0.060” (1.52mm) | A-50 | N | Y | E |
| MED91-5010-10 | 0.010” (0.25mm) | A-50 | Y | Y | E |
| MED91-5010-20 | 0.020” (0.50mm) | A-50 | Y | Y | E |
| MED91-5010-40 | 0.040” (1.01mm) | A-50 | Y | Y | E |
| MED92-8010-15 | 0.015” (0.38mm) | A-80 | Y | N | D |
| MED92-8010-18 | 0.015” (0.38mm) | A-80 | Y | N | D |

- Customization or special requests will be accepted on a case by case basis, and require a £1500 Development Fee.

- The sheeting will be made from materials that already have masterfile and compendium support.

- Tolerances on sheeting thickness are typically +/- 10% thickness values.

- Durometer measurements are made on the base material per NuSil TM006.

- Combination sheeting of Vulcanized on 1 side and Unvulcanized on the other side will be priced as 2 separate sheets.  All applications of this type must be quoted prior to development, and will be made to order.

- Double reinforcement with Polyester mesh is available upon request as a custom product.

- Different Durometers between 30-80 Shore A may be developed upon request from standard base HCRs for £500 set up fee.  Durometers below 30 may be too soft to run on the equipment, but may be evaluated as a custom development request for £1500 or more, depending on the complexity of the application.

- All pricing is subject to Polymer Systems Technology Limited Terms & Conditions.

Last updated: 24/03/2011

# Text boxes

GH = Thickness in 0.001”

F = 0 for non-pigmented, 1 for pigmented (BaSO4)

E = 0 if unvulcanized, 1 if vulcanized

CD = Durometer, Shore A